SECUMAX · Destination Security

Lock & Exit Device Installation Guide

1. Before you start

Check the package contents against the packing list and confirm the power supply matches the specification on the product label.

2. Mounting

Mark the mounting holes using the supplied template. Use the included anchors for concrete or brick, and seal cable entries for outdoor installations.

3. Wiring & power

Connect power and data as shown in the product datasheet. For PoE devices use a Cat5e/Cat6 cable up to 100 m.

4. Configuration

Power on the device and complete setup through the recorder, controller or mobile app. Change the default password on first login.

5. Support

Need help? Contact Secumax technical support: sales@secumax.org | +971 4 123 4567.